## Test 1: Test 1 Normal Stability Eyes Open NSEO

Stability Score: 91.2%

Stability Class: Healthy Balance → FLAG

Pred. Direction of Sway: 84.6 deg

Fatigue Ratio: 41.0%

Directionality: 54%

Sway Center [Xo, Yo]: 0.0036 m & 0.0227 m

ML Sway (Max & 95%): 0.0055 m & 0.0065 m

AP Sway (Max & 95%): 0.0051 m & 0.0138 m

Actual Sway (Max & Ave): 0.0098 m & 0.0031 m

Sway Velocity (Max & Ave): 0.049 m/s & 0.009 m/s

Sway Acceleration (Max & Ave): 0.985 m/s² & 0.194 m/s²

Sway Path Length: 0.1748 m

Area 95% Conf. Ellipse: 0.0000692 m²

LoS: 0.1581 m

Parameter p: 8.0

## Test 2: Test 2 Normal Stability Eyes Closed NSEC

Stability Score: 77.4%

Stability Class: Moderately Reduced → FLAG

Pred. Direction of Sway: -83.7 deg

Fatigue Ratio: 0.0%

Adaptation Ratio: 58.8%

Directionality: 75%

Sway Center [Xo, Yo]: -0.0037 m & 0.0081 m

ML Sway (Max & 95%): 0.0007 m & 0.0097 m

AP Sway (Max & 95%): 0.0237 m & 0.0356 m

Actual Sway (Max & Ave): 0.0175 m & 0.0086 m

Sway Velocity (Max & Ave): 0.067 m/s & 0.013 m/s

Sway Acceleration (Max & Ave): 1.040 m/s² & 0.228 m/s²

Sway Path Length: 0.2668 m

Area 95% Conf. Ellipse: 0.0002495 m²

LoS: 0.1581 m

Parameter p: 11.0

## Test 3: Test 3 Perturbed Stability Eyes Open PSEO

Stability Class: Severely Reduced → FLAG

Pred. Direction of Sway: 87.9 deg

Fatigue Ratio: 149.9%

Adaptation Ratio: 0.0%

Directionality: 56%

Sway Center [Xo, Yo]: 0.0151 m & 0.0157 m

ML Sway (Max & 95%): 0.0034 m & 0.0179 m

AP Sway (Max & 95%): 0.0015 m & 0.0405 m

Actual Sway (Max & Ave): 0.0308 m & 0.0098 m

Sway Velocity (Max & Ave): 0.102 m/s & 0.020 m/s

Sway Acceleration (Max & Ave): 1.735 m/s² & 0.325 m/s²

Sway Path Length: 0.3925 m

Area 95% Conf. Ellipse: 0.0005701 m²

LoS: 0.1581 m

Parameter p: 8.3

## Test 4: Test 4 Perturbed Stability Eyes Closed PSEC

Stability Score: 66.2%

Stability Class: Moderately Reduced → FLAG

Pred. Direction of Sway: 0.8 deg

Fatigue Ratio: 9.5%

Adaptation Ratio: 0.0%

Directionality: 16%

Sway Center [Xo, Yo]: 0.0114 m & 0.0172 m

ML Sway (Max & 95%): 0.0048 m & 0.0534 m

AP Sway (Max & 95%): 0.0235 m & 0.0449 m

Actual Sway (Max & Ave): 0.0340 m & 0.0160 m

Sway Velocity (Max & Ave): 0.282 m/s & 0.046 m/s

Sway Acceleration (Max & Ave): 7.471 m/s² & 0.696 m/s²

Sway Path Length: 0.9260 m

Area 95% Conf. Ellipse: 0.0018837 m²

LoS: 0.1581 m

Parameter p: 5.2