## Test 1: Test 1

Stability Score: 66.3%

Stability Class: Moderately Reduced → FLAG

Pred. Direction of Sway: -16.7 deg

Fatigue Ratio: 0.0%

Adaptation Ratio: 15.9%

Directionality: 36%

ML Sway (Max & 95%): 0.0178 m & 0.0520 m

AP Sway (Max & 95%): 0.0077 m & 0.0360 m

Actual Sway (Max & Ave): 0.0347 m & 0.0145 m

Sway Velocity (Max & Ave): 0.291 m/s & 0.052 m/s

Sway Acceleration (Max & Ave): 5.204 m/s² & 0.810 m/s²

Sway Path Length: 1.0298 m

Area 95% Conf. Ellipse: 0.0014234 m²

LoS: 0.1581 m

Parameter p: 4.5

## Test 2: Test 2

Stability Score: 50.7%

Stability Class: Profoundly Reduced → FLAG

Pred. Direction of Sway: -31.6 deg

Fatigue Ratio: 0.0%

Adaptation Ratio: 27.2%

Directionality: 45%

ML Sway (Max & 95%): 0.0161 m & 0.0701 m

AP Sway (Max & 95%): 0.0042 m & 0.0549 m

Actual Sway (Max & Ave): 0.0619 m & 0.0196 m

Sway Velocity (Max & Ave): 0.319 m/s & 0.068 m/s

Sway Acceleration (Max & Ave): 5.202 m/s² & 1.018 m/s²

Sway Path Length: 1.3523 m

Area 95% Conf. Ellipse: 0.0026440 m²

LoS: 0.1581 m

Parameter p: 4.4

## Test 3: Test 3

Stability Score: 64.1%

Stability Class: Severely Reduced → FLAG

Pred. Direction of Sway: -30.9 deg

Fatigue Ratio: 50.1%

Adaptation Ratio: 0.0%

Directionality: 17%

ML Sway (Max & 95%): 0.0139 m & 0.0545 m

AP Sway (Max & 95%): 0.0114 m & 0.0500 m

Actual Sway (Max & Ave): 0.0484 m & 0.0165 m

Sway Velocity (Max & Ave): 0.276 m/s & 0.051 m/s

Sway Acceleration (Max & Ave): 5.265 m/s² & 0.763 m/s²

Sway Path Length: 1.0173 m

Area 95% Conf. Ellipse: 0.0021106 m²

LoS: 0.1581 m

Parameter p: 4.9

## Test 4: Test 4

Stability Score: 58.8%

Stability Class: Severely Reduced → FLAG

Pred. Direction of Sway: -50.3 deg

Fatigue Ratio: 0.0%

Adaptation Ratio: 27.7%

Directionality: 12%

ML Sway (Max & 95%): 0.0331 m & 0.0608 m

AP Sway (Max & 95%): 0.0100 m & 0.0622 m

Actual Sway (Max & Ave): 0.0645 m & 0.0188 m

Sway Velocity (Max & Ave): 0.387 m/s & 0.063 m/s

Sway Acceleration (Max & Ave): 8.142 m/s² & 0.958 m/s²

Sway Path Length: 1.2571 m

Area 95% Conf. Ellipse: 0.0029441 m²

LoS: 0.1581 m

Parameter p: 4.6