## Test 1: Normal Stability Eyes Open NSEO

Stability Score: 97.1%

Stability Class: Healthy Balance

Pred. Direction of Sway: -84.3 deg

Fatigue Ratio: 0.0%

Adaptation Ratio: 31.3%

Directionality: 23%

Sway Center [Xo, Yo]: [0.0075 m, -0.0184 m]

ML Sway (Max & 95%): 0.0001 m & 0.0046 m

AP Sway (Max & 95%): 0.0003 m & 0.0060 m

Actual Sway (Max & Ave): 0.0045 m & 0.0017 m

Sway Velocity (Max & Ave): 0.024 m/s & 0.006 m/s

Sway Acceleration (Max & Ave): 0.859 m/s² & 0.182 m/s²

Sway Path Length: 0.1129 m

Area 95% Conf. Ellipse: 0.0000218 m²

LoS: 0.2096 m

Parameter p: 10.9

## Test 2: Normal Stability Eyes Closed NSEC

Stability Score: 94.6%

Stability Class: Healthy Balance

Pred. Direction of Sway: 89.6 deg

Fatigue Ratio: 0.0%

Adaptation Ratio: 0.5%

Directionality: 56%

Sway Center [Xo, Yo]: [0.0045 m, -0.0407 m]

ML Sway (Max & 95%): 0.0035 m & 0.0050 m

AP Sway (Max & 95%): 0.0006 m & 0.0114 m

Actual Sway (Max & Ave): 0.0071 m & 0.0028 m

Sway Velocity (Max & Ave): 0.027 m/s & 0.007 m/s

Sway Acceleration (Max & Ave): 0.887 m/s² & 0.232 m/s²

Sway Path Length: 0.1387 m

Area 95% Conf. Ellipse: 0.0000446 m²

LoS: 0.2096 m

Parameter p: 14.9

## Test 3: Perturbed Stability Eyes Open PSEO

Stability Score: 91.6%

Stability Class: Healthy Balance

Pred. Direction of Sway: -29.2 deg

Fatigue Ratio: 0.0%

Adaptation Ratio: 5.6%

Directionality: 36%

Sway Center [Xo, Yo]: [0.0699 m, 0.0508 m]

ML Sway (Max & 95%): 0.0069 m & 0.0163 m

AP Sway (Max & 95%): 0.0009 m & 0.0131 m

Actual Sway (Max & Ave): 0.0136 m & 0.0047 m

Sway Velocity (Max & Ave): 0.129 m/s & 0.027 m/s

Sway Acceleration (Max & Ave): 5.217 m/s² & 0.958 m/s²

Sway Path Length: 0.5480 m

Area 95% Conf. Ellipse: 0.0001559 m²

LoS: 0.2096 m

Parameter p: 7.4

## Test 4: Perturbed Stability Eyes Closed PSEC

Stability Score: 72.9%

Stability Class: Mildly Reduced → FLAG

Pred. Direction of Sway: -79.4 deg

Fatigue Ratio: 9.3%

Adaptation Ratio: 0.0%

Directionality: 41%

Sway Center [Xo, Yo]: [0.0636 m, 0.0489 m]

ML Sway (Max & 95%): 0.0147 m & 0.0343 m

AP Sway (Max & 95%): 0.0211 m & 0.0561 m

Actual Sway (Max & Ave): 0.0400 m & 0.0152 m

Sway Velocity (Max & Ave): 0.167 m/s & 0.050 m/s

Sway Acceleration (Max & Ave): 3.753 m/s² & 1.030 m/s²

Sway Path Length: 0.9917 m

Area 95% Conf. Ellipse: 0.0014819 m²

LoS: 0.2096 m

Parameter p: 6.7